## main
S.No | Dt. | Sub | ID | From (HH:MM) | To (HH:MM) | Circle | Volt Level | Grid Name | Feeder/ Equip | Feeder or Equip Name/ PTR No | Tripping Details | Load in MW | Load Backfeed on (HH:MM) | Reason of Tripping | Corrective Action Taken | Target Date for Corrective Action | ATR Status as on 24th Apr 2021 | Deptt
| 25-Jun-21 |  | B25062100005 | 4:57 | 6:02 | South | S_66KV | Ridge_Valley | OG_33KV_Feeder_42 | KHYBER LINE-2 | Tripped off on O/C & E/F | 6.95 | 5:02 | FaultSuspected
| 25-Jun-21 |  | B25062100030 | 14:00 | 16:10 | West | W_220KV | NJF_220KV | OG_66KV_CKT_7 | NANGLOI WATER WORKS | Tripped off on ZONE-1, DISTANCE 3.7KM, B-PHASE | 25.8 | 14:05 | FaultSuspected
| 26-Jun-21 |  | B26062100035 | 17:22 | 20:19 | South | S_66KV | Ridge_Valley | PTR_73 | PowerTransformer_16MVAPTR NO-1 | Tripped off on M-86 , AUXILIARY RELAY,WTI & OTI | 3.6 | 17:26 | FaultSuspected
| 27-Jun-21 |  | B27062100008 | 9:25 | 15:32 | South | S_66KV | Jasola | OG_33KV_Feeder_39 | JAMIA | Tripped off on O/C & E/F,M-86 RELAY | 7.1 | 9:27 | FaultSuspected
| 27-Jun-21 |  | B27062100009 | 10:25 | 13:58 | South | S_220KV | Mehrauli | OG_66KV_CKT_5 | SOUTH ASIAN UNIVERSITY | Tripped off on PHASE FAILURE | 8.5 | 10:28 | FaultSuspected
| 27-Jun-21 |  | B27062100032 | 19:17 | 20:30 | South | S_66KV | Malviya_Nagar | OG_33KV_Feeder_31 | TUGHLAKABAD | Tripped off on O/C highset & E/F highset M-86 RELAY | 11 | 19:18 | FaultSuspected
| 27-Jun-21 |  | B27062100038 | 20:59 | 21:31 | South | S_33KV | Lazpat_Nagar | IC_11KV | 11KV I/C -1 | Tripped off on O/C & E/F | 7.1 | 21:31 | FaultSuspected
| 28-Jun-21 | A | B28062100010 | 7:05 | 9:35 | South | S_220KV | Mehrauli | OG_66KV_CKT_5 | IOC BIJWASAN | Tripped off on ZONE-1 Y PHASE, 7.1 KM | 17.5 | 7:05 | FaultSuspected
| 28-Jun-21 | B |  | 7:05 | 9:35 | South | S_66KV | Brijwasan | IC_66KV_Feeder_29 | 22OKV MEHRAULI | Tripped off on O/C , master 86 relay. |  |  | FaultSuspected
| 28-Jun-21 | A | B28062100040 | 14:50 | 14:53 | South | S_66KV | Malviya_Nagar | IC_66KV_Feeder_31 | MEHRAULI CKT-2 | Tripped off on O/C , General Trip Relay. | 34 | 14:53 | FaultSuspected
| 28-Jun-21 | B |  | 14:50 | 18:44 | South | S_66KV | Malviya_Nagar | OG_11KV_Feeder_31 | IGNOU | Tripped off without indication. | 56 | 14:57 | FaultSuspected
| 28-Jun-21 | C |  | 14:50 | 18:44 | South | S_66KV | Ignou | OG_66KV_Feeder_28 | MALVIYA NAGAR | Tripped off on O/C |  |  | FaultSuspected
| 28-Jun-21 |  | B28062100065 | 21:11 | 23:08 | South | S_66KV | INST_AREA_VKJ | OG_66KV_Feeder_81 | RIDGE VALLEY CKT-2 | Tripped off on O/C & E/F &M-86 Relay | NIL | NIL | FaultSuspected
| 28-Jun-21 |  | B28062100066 | 22:45 | PENDING | West | W_220KV | PPK2_220KV | OG_66KV_CKT_9 | G-4 Dwk_CKT-1 | Tripped off on Distance Protection Zone , B-phase Relay | 37.4 | 22:50 | FaultSuspected
| 29-Jun-21 |  | B29062100003 | 5:28 | 16:50 | South | S_66KV | Ridge_Valley | IC_66KV_Feeder_70 | VKJ INST. AREA CKT | Tripped off on E/F | NIL | NIL | FaultSuspected
| 29-Jun-21 |  | B29062100051 | 13:03 | 15:45 | South | S_220KV | Okhla | OG_33KV_CKT_1 | East OF Kailash CKT | Tripped off on E/F | 8.1 | 13:05 | FaultSuspected
| 29-Jun-21 |  | B29062100048 | 22:02 | 22:25 | South | S_66KV | C_DOT | IC_11KV | 11KV I/C -1 | Tripped off without indication. | 8 | 4MW TILL 22:05 & 8MW TILL 22:25 | FaultSuspected
| 29-Jun-21 |  | B29062100034 | 17:19 | 19:08 | West | W_220KV | NJF_220KV | OG_66KV_CKT_7 | NANGLOI | Tripped off on ZONE-1, -PHASE, 3.3KM | 11.2 | 17:20 | FaultSuspected
| 29-Jun-21 |  | B29062100049 | 21:59 | 23:54 | West | W_220KV | PPK2_220KV | OG_66KV_CKT_9 | G-4 DWK CKT-1 | Tripped off on Distance protection, M-86, E/F & O/C | 39.6 | 22:05 | FaultSuspected
| 30-Jun-21 |  | B30062100002 | 0:17 | 0:36 | West | W_220KV | PPK2_220KV | OG_66KV_CKT_9 | G-4 DWARKA CKT | Tripped off on Distance protection , M-86 RELAY | 39.3 | 0:18 | NoAbnormalityFound
| 30-Jun-21 |  | B30062100040 | 10:08 | 10:33 | West | W_220KV | PPK2_220KV | IC_11KV | 11KV I/C -2 | Tripped off on E/F RELAY | 7.3 | 10:12 | NoAbnormalityFound
| 30-Jun-21 | A | B30062100041 | 10:20 | PENDING | West | W_66KV | Nangloi_water_works | ICm_66KV_Feeder_9 | 400KV MUNDKA | Tripped off on O/C & E/F RELAY | 28.2 | 20 MW TILL10:25 ,& 8.2 MW TILL11:20 | FaultSuspected
| 30-Jun-21 | B |  | 10:20 | PENDING | West | W_220KV | MDK_400KV | OG_66KV_CKT_100 | NANLOI WATER WORKS CKT | Tripped off on Distance protection ZONE-2, Y PHASE ,15 KM |  |  | FaultSuspected
| 30-Jun-21 | C | B30062100042 | 10:20 | PENDING | West | W_66KV | Nangloi_water_works | OGW_66KV_Feeder_9 | NANGLOI | Tripped off on O/C & E/F, M-86 RELAY |  |  | FaultSuspected

## trip_count
Date | Count
30-Jun-21 | 5
29-Jun-21 | 5
28-Jun-21 | 7
27-Jun-21 | 4
26-Jun-21 | 1
25-Jun-21 | 2
Total | 24